Flag	Reason
0	Data has passed all QC checks
1	Data missing from L1 Excel spreadsheet
2	Failed range check
3	Failed CSAT check, Diag_CSAT flag!=0 (do_CSATcheck)
4	Failed 7500 check, Diag_7500 flag!=0 plus dependencies on AGC_7500, Ah_7500_Sd, Cc_7500_Sd, AhAh, CcCc (do_7500check)
5	Failed diurnal check
6	Date/time range excluded
7	Hour range excluded
8
9
10	Linear correction or linear drift correction applied to data
11	Dependent data rejected during 2D coordinate rotation
12	Data rejected due to dependencies when calculating Massman frequency corrections (MassmanStandard)
13	Fh rejected during conversion of Fhv to Fh (FhvtoFh)
14	Fc rejected during WPL correction due to dependencies (Fc_WPLcov) / Fe rejected during WPL correction due to dependencies (Fe_WPL) / Fe rejected during WPL correction due to dependencies (Fe_WPLcov)
15	Ta calculated from CSAT Tv rejected due to dependencies (TaFromTv)
16	Data rejected at L3 due to failed range check (do_qcchecks)
17	Data rejected at L3 due to failed diurnal check (do_qcchecks)
18	Ustar below threshold (FilterUstar)
19	Data rejected during coordination of gaps in flux series

Flag	Reason
20	Missing rotated covariance replaced with non-rotated value
21
22
23
24
25	Flux data gap filled using monthly ratios (day time) and climatology (night time) (GapFillFluxFromMonthRatio)
26
27
28
29
30
31
32	Gap fill data missing due to missing value in climatology file (GapFillFromClimatology)
33
34	Missing data gap filled by linear interpolation
35	Data replaced by alternate value when difference between data and alternate value exceeds threshold (ReplaceWhenDiffExceedsRange)
36	Ustar calculated from U, Fh and z0 (UstarFromFh)
37	Unable to calculate ustar from U, Fh and z0 (UstarFromFh)
38	Data rejected at L4 due to failed range check (do_qcchecks)
39	Data rejected at L4 due to failed diurnal check (do_qcchecks)

Flag	Reason
40
41
42
43
44
45
46
47
48
49
50
51	Fsd below threshold when calculating albedo
52	Hour outside range 1000 to 1400 when calculating albedo
53
54
55
56
57
58
59

Flag	Reason
60
61	Stomatal resistance less than 0 (get_stomatalresistance)
62	Fe less than threshold when calculating stomatal resistance (get_stomatalresistance)
63	Fsd less than threshold when calculating stomatal resistance (get_stomatalresistance)
64	Wind speed = 0 when calculating stomatal resistance (get_stomatalresistance)
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79